|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PRICE - MINERAL WATER PROJECT - ISI** | | | | **(PRICE IN LACS)** | | | | | | | | |
| **PRICE : MINERAL WATER PLANT COMPLETE WITH DESIGN, ENGINEERING & SUPPLY** | | | | | | | | | | | | |  | |  |  | |
| **SYSTEM** | | **SR.NO.** | **DESCRIPTION** | | | | | **250 LPH** | | | | |
|  | |  | **WATER PURIFICATION SYSTEM** | | | | |  | | | | |
|  | | 1.1 | Mineral Water Plant X cel | | | | | ` 1.0 | | | | |
|  | | 1.2 | MWP tank - 500 ltr | | | | | ` 1.5 | | | | |
| SYS-1 | | 1.3 | Ozone System | | | | | ` 2.0 | | | | |
|  | | 1.4 | Ozone Tank - 1000 LTR | | | | | ` 2.5 | | | | |
|  | | 1.5 | SS Piping (OZONE TO FILLING SECTION) APX. | | | | | ` 3.6 | | | | |
|  | **TOTAL PRICE FOR WATER TREATMENT SYSTEM(SYS-1)** | | | | | **` 10.6** | | | | | | |  |
|  | |  | **QUALITY CONTROL LAB** | | |  | | | | | | |
|  | |  | **Micro & Chem Lab As Per Bureau Of Indian Standard Norms** | | | | |  | | | | |
|  | |  | **- Lab Equipment,Chemicals,Glassware, Media, General Item** | | | | |  | | | | |
| SYS-2 | | 2.1 | **(BIS LICENSE FEES EXCLUSIVE EXTRA AT ACTUAL)** | | | | | ` 3.75 | | | | |
|  | |  |  | | | | |  | | | | |
|  | **TOTAL PRICE FOR QUALITY CONTROL LAB (SYS-2)** | | | | | **` 3.75** | | | | | | |  |
|  | |  | **WASHING, FILLING & PACKING MACHINERIES** | | | | |  | | | | |
|  | | 3.1 | Jar Washing Machine | | | | | ` 0.45 | | | | |
|  | |  | Type: III STAGE | | | | |  | | | | |
|  | | 3.2 | Fully Auto Glass Filling Machine | | | | | ` 4.5 | | | | |
|  | |  | Capacity : 1500 Glass/Hr | | | | |  | | | | |
| SYS-3 | | 3.3 | Chiler | | | | | ` 1.2 | | | | |
|  | |  | 250 | | | | |  | | | | |
|  | | 3.4 | Batch Coding Machine | | | | | ` 0.45 | | | | |
|  | |  | Type : Manual | | | | |  | | | | |
|  | | 3.5 | Pouch Packing Machine | | | | | ` 1.45 | | | | |
|  | |  | Capacity : 3000 Pouch / Hr | | | | |  | | | | |
|  | | 3.6 | Fully Auto Bottle Rinising,Filling,Sealing & Labeling Machine | | | | | ` 9.5 | | | | |
|  | |  | Capacity : 1450 Bottle/Hr. (24 BPM) Type : Rotary | | | | |  | | | | |
|  | |  |  | | | | |  | | | | |
|  | **TOTAL PRICE FOR PACKING M/C (SYS-3)** | | | | | **` 17.55** | | | | | | |  |
| **NB : YOU MAY SELECT ALL / EITHER AS PER REQUIREMENT FROM SYS.3** | | | | |  | |  | | | |  | |
|  | |  | **VALUE ADDED TECHNOLOGY** | | | | |  | | | | |
|  | | 4.1 | Ozone Booster | | | | | ` 0.98 | | | | |
|  | | 4.2 | Silver Technology | | | | | ` 0.75 | | | | |
|  | | 4.3 | GAC Technology | | | | | ` 0.19 | | | | |
| SYS-4 | | 4.4 | Spring Technology | | | | | ` 0.45 | | | | |
|  | | 4.5 | EMF Technology | | | | | ` 0.76 | | | | |
|  | |  |  | | | | |  | | | | |
|  | |  |  | | | | |  | | | | |
|  | **TOTAL PRICE FOR VALUE ADDED TECHNOLOGY (SYS-4)** | | | | | **` 3.13** | | | | | | |  |
| **NB:VALUE ADDED TECH IS FOR BETTERMENT OF TASTE OF WATER YOU MAY SELECT ALL /** | | | | | | | | | | | | |  | | | |  | |  |
| **EITHER AS PER YOUR REQUIREMENT FROM (SYS-4)** | | | | | | | | | | | | |  | | | |  | |  |
| **TOTAL PRICE FOR ENTIRE MINERAL WATER PLANT (SYS 1+2+3+4)** | | | | | | | | |  |  | |  |